## Slide 1
Marcelo Britto Martins
Renata T. de Barros e Vasconcelos
Paulo A. A. Esquef
Step Change Detection Based on Analytic Signal for PMU Calibrators
26-Sep-2019

## Slide 2
Step Change Detection Based on Analytic Signal for PMU Calibrators
Intro/Context.
Math
  Hilbert
  Parametric Model
  Detection Signals
  Hybrid detector
  Frequency estimation
Numeric Simulations
  Metrics
Performance
  Step Location
  Frequency
Laboratory Setup

## Slide 3
Introduction
Assessement of PMU calibrators
Step tests: (IEEE Std)
Magnitude (KxS = 0.1)
Phase (KaS = 10°)
Special cases

## Slide 4
Mathematical Background
Instantaneous magnitude, phase and frequency

## Slide 5
Mathematical Background

## Slide 6
Numerical Simulations

## Slide 7
Performance

## Slide 8
Laboratory Setup
Generation
Sampling
Clock
18 MHz
Atomic Clock
10 MHz
Timing
PXI System
1 PPS
Trigger
CPU
Timestamp
Samples
Waveforms
DUT
Voltage
amplifier
RVD
Output

## Slide 9
Títulos (fonte Calibri Bold - corpo 24 a 32)
Subtítulos (fonte Calibri Bold - corpo 20 a 24)
Texto (fonte Calibri regular ou Calibri Bold - corpo 14 a 22)
Texto para tabelas (fonte Calibri – corpo 12 a 18)
Cor: Preto ou cinza
Cor: Azul marinho (RGB: 16, 52, 92)
Cor: Azul claro (RGB: 0, 176, 240)
Alguns destaques (setas, links e etc...)
Sugestões para títulos, textos e destaques: