## Slide 1
Marcelo Britto Martins
Renata T. de Barros e Vasconcelos
Paulo A. A. Esquef
Step Change Detection Based on Analytic Signal for PMU Calibrators
26-Sep-2019

## Slide 2
Step Change Detection Based on Analytic Signal for PMU Calibrators
Intro/Context.
Math
  Hilbert
  Parametric Model
  Detection Signals
  Hybrid detector
  Frequency estimation
Numeric Simulations
  Metrics
Performance
  Step Location
  Frequency
Laboratory Setup

## Slide 3
Introduction
National Metrology Institute -> reference values, low uncertainties
Assessment of PMU calibrators.
Dynamic tests (IEEE Std)
  Step tests:
    Magnitude ()
    Phase ()
Voltage
Generation
Sampling
Analysis
Parametric model;
Iterative procedure -Levenberg-Marquardt (LMI)
Nominal values
Introduce errors, uncertainties, and noise
Assessment of errors and uncertainties

## Slide 4
Introduction
LMI: estimates , , , ,
Needs reliable and accurate estimates of and a initial guessing for ;
Previous work:
Estimation of based on the instantaneous frequency of Hilbert´s analytical signal.
Challenging special cases:
Magnitude steps near zero crossings;
Phase steps near crests.
This work:
Estimation of:
Hybrid detector based on instantaneous magnitude and frequency;
Underlying phasor frequency

## Slide 5
Mathematical Background
Instantaneous magnitude, phase and frequency

## Slide 6
Mathematical Background
Hybrid detector
Frequency
Obtain by sampling with .
Calculate the analytical signal

## Slide 7
Detection signals
1. Step detection via instantaneous magnitude

## Slide 8
Detection signals
2. Step detection via instantaneous frequency

## Slide 9
Hybrid detector
Highest ratio
Underlying Phasor Frequency estimator:

## Slide 10
Numeric Simulations
Hybrid detector ().
Accuracy under noisy conditions.
Monte Carlo simulations:
  Each run: one frame with 480 samples
  s
  Hz
Cases:
  Single magnitude step (
  Single phase step (, );
  Simultaneous steps (%, ).
Performance metrics:
  False positives: , but
  False negatives:
  Percentage of total failures:
  Frequency Error:

## Slide 11
Performance

## Slide 12
Performance

## Slide 13
Performance

## Slide 14
Performance

## Slide 15
Laboratory Setup
Generation
Sampling
Clock
18 MHz
Atomic Clock
10 MHz
Timing
PXI System
1 PPS
Trigger
CPU
Timestamp
Samples
Waveforms
DUT
Voltage
amplifier
RVD
Output
Analysis

## Slide 16
Measurements

## Slide 17
Conclusions
Blindly detect and locate step changes;
Simple estimator for underlying phasor frequency under step conditions;
Ongoing investigation:
  Voltage sags: two or more steps inside a window;
  Implementation of denoising techniques.

## Slide 18
Thank you

## Slide 19
Títulos (fonte Calibri Bold - corpo 24 a 32)
Subtítulos (fonte Calibri Bold - corpo 20 a 24)
Texto (fonte Calibri regular ou Calibri Bold - corpo 14 a 22)
Texto para tabelas (fonte Calibri – corpo 12 a 18)
Cor: Preto ou cinza
Cor: Azul marinho (RGB: 16, 52, 92)
Cor: Azul claro (RGB: 0, 176, 240)
Alguns destaques (setas, links e etc...)
Sugestões para títulos, textos e destaques: